## Slide 2
SECTION 2
FINAL SUBCIRCUITS ARRANGEMENTS

## Slide 3
FINAL SUBCIRCUIT ARRANGEMENTS
L
Arrangement into circuits
Maximum demand
Factors determining number and type of circuits
Topics
Current requirements for final sub-circuits
Aim
Learners will plan the cable arrangements for final sub-circuits in a variety of installations.
Circuit layouts/schedules
SELV and PELV circuits
Isolated supply circuits

## Slide 4
FINAL SUBCIRCUIT ARRANGEMENTS
Learning objectives:
Learners should be able to meet the following learning objectives:
Determine the daily and seasonal demand for lighting, power, heating and other loads in a given installation.
Determine the number and types of circuits required for a particular installation.
Determine the current requirements for given final sub-circuits.
Prepare a layout/schedule of circuits for given installations.
Determine an application and arrangement of a SELV and PELV circuit
Determine an application and arrangement of an isolated supply
L

## Slide 5
L

## Slide 6
L

## Slide 7
L
I = P
(V x λ)
IL = P
(√3 x VL x λ)
I = P
(V x λ)
= 2000
(230 x 0.85)
= 10.23A

## Slide 8
L
IL = P
(√3 x VL x λ)
= 40000
(√3 x 400 x 1)
= 57.7A

## Slide 9
L

## Slide 10
L

## Slide 11
L

## Slide 12
L
32 x 0.5 = 16A.
can’t put on 1 x 10A C.B.
16 x 0.5 = 8A
2 circuits x 10A C.B.’s
32 lights (10A CB)

## Slide 13
L
Light 1
10A
16
Light 2
10A
16
8A
8A

## Slide 14
L

## Slide 15
L

## Slide 16
L
24 x 2 = 48 points.
can’t put on 1 x 20A C.B.
16 x 1 = 16A
3 circuits x 20A C.B.’s
1 double = 2 points.
can’t put on 2 x 20A C.B.
48 x 1 = 48A.

## Slide 17
L
Light 1
10A
16
Light 2
10A
16
8A
8A
16A
16A
16A
Power 1
20A
8Doubles
(16points)
Power 2
20A
8Doubles
(16points)
Power 3
20A
8Doubles
(16points)

## Slide 18
L

## Slide 19
L

## Slide 20
L
1 point per final sub-circuit
Connected load = 25A

## Slide 21
L
Light 1
10A
16
Light 2
10A
16
8A
8A
16A
16A
16A
Power 1
20A
Power 2
20A
Power 3
20A
A/C
25A
1
25A
8Doubles
(16points)
8Doubles
(16points)
8Doubles
(16points)

## Slide 22
L

## Slide 23
L
1 point per final sub-circuit
Connected load = P/V
= 4400/230
= 19.1A

## Slide 24
L
Light 1
10A
16
Light 2
10A
16
8A
8A
16A
16A
16A
Power 1
20A
Power 2
20A
Power 3
20A
A/C
25A
1
H.W.S.
20A
1
25A
19.1A
8Doubles
(16points)
8Doubles
(16points)
8Doubles
(16points)

## Slide 25
L

## Slide 26
L
can’t put on 1 x 16A C.B.
So 2 circuits needed
10 / 2 = 5 points per circuit
10 x 1.85 = 18.5A

## Slide 27
L
H/Bay Light 1
16A
5
H/Bay Light 2
16A
5
9.25A
9.25A

## Slide 28
L

## Slide 29
L
22 x 0.5 = 11A.
can put on 1 x 20A C.B.

## Slide 30
L
H/Bay Light 1
16A
5
H/Bay Light 2
16A
5
9.25A
9.25A
Light 3
20A
22
11A

## Slide 31
L

## Slide 32
L
12 x 10A Socket Outlets
How many circuits?

## Slide 33
L
H/Bay Light 1
16A
5
H/Bay Light 2
16A
5
9.25A
9.25A
Power 1
20A
6
12A
Light 3
20A
22
11A
Power 2
20A
6
12A

## Slide 34
L

## Slide 35
L

## Slide 36
L
H/Bay Light 1
16A
5
H/Bay Light 2
16A
5
9.25A
9.25A
Power 1
20A
6
12A
Light 3
20A
22
11A
Power 2
20A
6
12A
32A Outlet 1
32A
1
32A
32A Outlet 2
32A
1
32A
32A Outlet 3
32A
1
32A

## Slide 37
L

## Slide 38
L

## Slide 39
L
I = P
V
16A
20A
25A
= 5000
230
= 21.7A
= 8000
230
= 34.8A
= 10000
230
= 43.5A

## Slide 40
L

## Slide 41
L

## Slide 42
L
Circuit breakers
C.F.S. Units
H.R.C. fuses
Circuit breakers and fuses
no

## Slide 43
L
IB ≤ IN ≤ IZ

## Slide 44
L

## Slide 45
L
≤
≤
yes
no
no
no

## Slide 46
L
I2 ≤ 1.45 x IZ

## Slide 47
L
Fuse Curve
I2=1.6 x IN
I2=1.45 x IN

## Slide 48
L
IB ≤ IN ≤ (IZ x 0.9)

## Slide 49
L
≤
≤
x 0.9
no
no
yes
no
X 9A
X 18.9A
X 32.4A
X 14.4A

## Slide 50
L
IZ = IN
D.R.

## Slide 51
L
1
0.9
1
0.9
0.9
= 20
1
= 20A
= 20
0.9
= 22.2A
= 32
1
= 32A
= 32
0.9
= 35.6A
= 40
0.9
= 44.4A
IZ = IN
D.R.

## Slide 52
L

## Slide 53
L

## Slide 54
L

## Slide 55
L

## Slide 56
L
75°
75°
75°
90°
90°
90°

## Slide 57
L

## Slide 58
L

## Slide 59
L

## Slide 60
L
25A

## Slide 61
L

## Slide 62
L
25A
20A

## Slide 63
L

## Slide 64
L
25A
20A
32A

## Slide 65
L

## Slide 66
L
25A
20A
32A
25A

## Slide 67
L

## Slide 68
L
25A
20A
32A
25A
25A

## Slide 69
L

## Slide 70
L

## Slide 71
L
20A
32A
40A
25A
25A

## Slide 72
L

## Slide 73
L

## Slide 74
L
Notes: 74

## Slide 75
L
Notes: 75

## Slide 76
L
Light 1
1.5 mm2
16A
22
11A

## Slide 77
L

## Slide 78
L

## Slide 79
L
Notes: 79

## Slide 80
L
Notes: 80

## Slide 81
L
Light 1
1.5 mm2
16A
22
11.5A
Power 1
2.5mm2
20A
16
(8Doubles)
Power 2
2.5mm2
20A
16 (8Doubles)
Power 3
2.5mm2
20A
16 (8Doubles)
16A
16A
16A

## Slide 82
L

## Slide 83
L
Notes: 83

## Slide 84
L
Notes: 84

## Slide 85
L
Light 1
1.5 mm2
16A
22
11.5A
Power 1
2.5mm2
20A
16
(8Doubles)
Power 2
2.5mm2
20A
16 (8Doubles)
Power 3
2.5mm2
20A
16 (8Doubles)
16A
16A
16A
A/C
2.5mm2
16/20A
1
15A

## Slide 86
L

## Slide 87
L
Notes: 87

## Slide 88
L
Notes: 88

## Slide 89
L
Notes: 89

## Slide 90
L
Light 1
1.5 mm2
16A
22
11.5A
Power 1
2.5mm2
20A
Power 2
2.5mm2
20A
Power 3
2.5mm2
20A
16A
16A
16A
A/C
2.5mm2
16/20A
1
15A
Cook Top
2.5mm2
20A
1
20A
16
(8Doubles)
16 (8Doubles)
16 (8Doubles)

## Slide 91
L

## Slide 92
L
Notes: 92

## Slide 93
L
Notes: 93

## Slide 94
L
Light 1
1.5 mm2
16A
22
11.5A
Power 1
2.5mm2
20A
Power 2
2.5mm2
20A
Power 3
2.5mm2
20A
16A
16A
16A
A/C
2.5mm2
16/20A
1
15A
Cook Top
2.5mm2
20A
1
20A
Oven
1.5mm2
16A
1
16A
16
(8Doubles)
16 (8Doubles)
16 (8Doubles)

## Slide 95
L
OR do them together DEMO ONLY

## Slide 96
L
Notes: 96

## Slide 97
L
Notes: 97

## Slide 98
L
Go to next page of the table
Notes: 98

## Slide 99
L
Notes: 99

## Slide 100
L

## Slide 101
L
Notes: 101

## Slide 102
L
Notes: 102

## Slide 103
L
Light 1
1.5 mm2
16A
22
11.5A
Power 1
2.5mm2
20A
16
(8Doubles)
Power 2
2.5mm2
20A
16 (8Doubles)
Power 3
2.5mm2
20A
16 (8Doubles)
16A
16A
16A
A/C
2.5mm2
16/20A
1
15A
H.W.S.
2.5mm2
20A
1
20A
Cook Top
2.5mm2
20A
1
20A
Oven
1.5mm2
16A
1
16A

## Slide 104
L

## Slide 105
L
Light 1
1.5 mm2
16 A
24
Light 2
1.5 mm2
16 A
24
Power 1
2.5 mm2
20A
20
(10doubles)
Power 2
2.5 mm2
20A
20
(10doubles)
Power 3
2.5 mm2
20A
20
(10doubles)
12A
12A
20A
20A
20A

## Slide 106
L
Fan /Heaters =
4 x 275W for heat lamps =
1 x 60W for Light =
1 x 150W for fan =
1100W
60W
150W
1310W
Total
I = P
(V x λ)
= 1310
(230 x 1)
= 5.7A each x 2
= 11.4A Total

## Slide 107
L
Fan /Heaters
1.5mm2
16A
2
Sauna
1.5mm2
16A
H.W.S.
2.5mm2
20A
1
1
A/C
2.5mm2
20A
1
Range
2.5mm2
20A
1
Spa
6.0mm2
32A
1
11.4A
19.2A
15.7A
18A
(34A) TC5=20A
32A

## Slide 108
L
Convention in non domestic is to use 2.5mm2 conductors for lighting

## Slide 109
L
Notes: 109

## Slide 110
L
Light 1 - HB
2.5 mm2
25A
8
Light 2 - HB
2.5 mm2
25A
8
Light 3 - Fl
2.5 mm2
25A
24
10A
10A
8A

## Slide 111
L

## Slide 112
L
Notes: 112

## Slide 113
L
Notes: 113

## Slide 114
L
Light 1 - HB
2.5 mm2
20A
8
Light 2 - HB
2.5 mm2
20A
8
Light 3 - Fl
2.5 mm2
20A
24
10A
10A
8A
Power 1
2.5 mm2
20A
10
(5doubles)
Power 2
2.5 mm2
20A
10
(5doubles)
20A
20A

## Slide 115
L
Power 3
2.5mm2
20A
10
(5doubles)
20A

## Slide 116
L

## Slide 117
L
Notes: 117

## Slide 118
L
Power 3
2.5mm2
20A
10
(5doubles)
20A
3ph SO 1
6mm2
32A
1
3ph SO 2
6mm2
32A
1
3ph SO 3
6mm2
32A
1
32A
32A
32A

## Slide 119
L

## Slide 120
L
Notes: 120

## Slide 121
L
Power 3
2.5mm2
20A
10
(5doubles)
20A
3ph SO 1
6mm2
32A
1
3ph SO 2
6mm2
32A
1
3ph SO 3
6mm2
32A
1
32A
32A
32A
Mach 1
16mm2
63A
1
Mach 2
10mm2
40A
1
Mach 3
10mm2
40A
1
54A
34A
34A

## Slide 122
L

## Slide 123
L

## Slide 124
L

## Slide 125
L
Notes: 125

## Slide 126
L
Separated Extra-Low Voltage
Protected Extra-Low Voltage
Not exceeding 50V a.c. or 120V ripple free d.c.

## Slide 127
L

## Slide 128
L

## Slide 129
L

## Slide 130
L

## Slide 131
L

## Slide 132
L

## Slide 133
L
Isolation Tx
Battery
Motor / Generator set
Electronic device

## Slide 134
L

## Slide 136
L
Each other and higher voltages
No.
Exception if installed under clause 3.9.8.3

## Slide 137
L

## Slide 139
L
other circuits; or
earth; or
earthing conductors or exposed conductive parts
extraneous conductive parts.
25Va.c. or 60Vd.c.

## Slide 140
L

## Slide 142
L
Barriers or enclosures to IPXXB or IP2X
Insulation capable of withstanding 500V a.c. for 1 minute
No.
(some exceptions apply)

## Slide 143
L

## Slide 144
L

## Slide 145
L

## Slide 146
L

## Slide 147
L
Yes
7.4.2(a)
500V
7.4.3(a)
Earth
7.4.3(b)
No
7.4.3(c)
Connected to the equipotential bonding conductor
7.4.6(b)

## Slide 148: END OF LESSON