## Slide 1
SECTION 5
MAXIMUM DEMAND ON
CONSUMERS MAINS & SUBMAINS

## Slide 2
MAXIMUM DEMAND ON CONSUMERS MAINS and submains
L
Learning objectives:
Learners should be able to meet the following learning objectives:
Describe the acceptable methods for determining the maximum demand on an installation’s consumer’s mains.
Calculate the maximum demand for the consumer's mains for given installations up to 400 A per phase.
Describe the acceptable methods for determining the maximum demand on sub mains.
Calculate the maximum demand for given sub mains

## Slide 3
L

## Slide 4
L

## Slide 5
L

## Slide 6
L

## Slide 7
L

## Slide 8
L

## Slide 9
L

## Slide 10
L

## Slide 11
L
NOTE: Change to welder
1
30A

## Slide 12
L
B
10A s/o
1000+(13 x 750)
46.7
46.7
46.7
230
Biii
20A s/o
20+(0.75 x 20 x 3)
65
65
65
D
Motors
28 +(0.75 x 28)
49
49
49
A
Lights
12 x 2.6 =
31.2
31.2
31.2
H
Welders

## Slide 13
L
L

## Slide 14
L

## Slide 15
L

## Slide 16
L
spot welders

## Slide 17
L
A
Lights
12 x 2.6 =
31.2
31.2
31.2
Bi
10A s/o
1000+(13 x 750)
46.8
46.8
46.8
230
Biii
20A s/o
20+(0.75 x 20 x 3)
65
65
65
D
Motors
28 +(0.75 x 28)
49
49
49
H
Welder
30 x 0.63 =
19
19
211A
211A
192A

## Slide 18
L

## Slide 19
L
A
Lights
Twins=15 x 0.5
7.5
7.5
3 x 500
230
Bi
15A s/o
15+(5 x 15 x 0.75)
6.6
71.3
71.3
71.3
D
Motors
42+(42 x 0.75)
73.5
73.5
25.2
3 x 16.8 x 0.5
5.6
25.2
5.6
214.1
204.1
205.6
1000+(750 x 5)
230
20.7
20.7
20.7
10A s/o (6/ph)
Biii
2300
230
H.W.S.
10
G
73.5
25.2
4 x 2.8 x 0.5
5.6
Floods=
6 x 100
230
Incandescents =
2.7

## Slide 20
L
Hint - Rectifier is assessed at full load
Hint - Double s/o can’t have an odd number of points

## Slide 21
L
A
Lights
14 x 0.25
3.5
3.5
1000 + (13 x 750)
230
Bi
20A s/o
20 + (6 x 20 x 0.75)
46.8
110
110
110
D
Motors
6.3 + (6.3 x 0.75) +(6.3 x 0.5)
14.2
14.2
5.2
2 x 5.2 x 0.5
5.2
251.6
245.1
248.1
1000+(11 x 750)
230
46.8
40.3
10A s/o
Biii
14.2
5.2
J
Rectifier
FCL
72
72
72
14/Ø
12/Ø
Notes: Split 10A socket outlets 7 + 7 + 6 single points therefore 14 + 14 + 12 = 40 points as you can not have an odd number of double 10A s/o ie don’t do 13 +13 +14 = 40

## Slide 22
L
Hint split 10A s/o’s over 2 phases to balance range

## Slide 23
L
Ai
Lights
18 x 0.25
4.5
1000 + (21 x 750)
230
Bi
15A s/o
72.9
15
G
H.W.S.
77.4
10A s/o
Biii
19.2
45.7
4400
230
10500
230
C
Range
79.9
77.4
72.9
4.5

## Slide 24
L
IL = S
√3 x VL

## Slide 25
L

## Slide 26
L

## Slide 27
L

## Slide 28
L
shops
L + P
1650
70
115500
A/C
1650
30
49500
offices
L + P
900
50
45000
A/C
900
25
22500
232500VA
S
√3 x VL
= 232500
√3 x 400
= 336A/Ø
x
=

## Slide 29
L

## Slide 30
L
Ware H
L + P
2200
10
22000
ventilation
2200
5
11000
offices
L + P
250
50
12500
A/C
250
25
6250
54250VA
S
√3 x VL
= 54250
√3 x 400
= 78.3A/Ø
Car park
Open air
500
5
2500

## Slide 31
L

## Slide 32
L
L Ind
L + P
1200
15
18000
ventilation
1200
15
18000
offices
L + P
850
50
42500
A/C
850
25
21250
102250VA
S
√3 x VL
= 102250
√3 x 400
= 147.6A/Ø
Car park
open air
500
5
2500

## Slide 33
L
This submain will only carry the load current of f.s.’c connected to DB1
This submain will only carry the load current of f.s.’c connected to DB2

## Slide 34
L

## Slide 35
L

## Slide 36
L

## Slide 37
L
Ai
Lights (8)
3
Bi
10A s/o (11)
10
F
H.W.S.
14.4
3300
230
D
A/C
11.3
15 x 0.75
C
Range
9.6
4400 x 0.5
230
48.3A

## Slide 38
L

## Slide 39
L

## Slide 40
L
Ai
Lights (12)
3
Bi
10A s/o (13)
10
16.5A
Aii
O/D Lights (1)
3.5
1100 x 0.75
230

## Slide 41
L

## Slide 42
L
Volt drop limitations and Fault Loop Impedance tripping times more often than not make conductors smaller than 2.5mm2 impractical for socket outlets

## Slide 43
L
2 points per m = 6 x 2 = 12 points (Ai footnote 4)
30 points total

## Slide 44
L
Ai
Lights (30)
5
Bi
10A s/o (22)
15
10 + 5
C
Range
13.1
6000 x 0.5
230
F
H.W.S
19.2
C
Dryer
7.5
15 x 0.5
59.8A
3 + 2
4400
230

## Slide 45
L

## Slide 46
L
Ai
Lights (16)
3
Bi
10A s/o (32)
15
10 + 5
C
CT / oven
19.6
9000 x 0.5
230
F
H.W.S
19.2
56.8A
4400
230

## Slide 47
L

## Slide 48
L
Ai
Lights
6 x 2.6 =
15.6
10
Bi
20A s/o
20+(3 x 20 x 0.75)
65
65
65
D
Motors
32+(32 x 0.75) +
(32 x 2 x 0.5) =
88
88
235.8
235.5
246.3
30 x 0.333 =
1000+(750 x 15)
230
53.3
53.3
10A s/o
Biii
88
1000+(750 x 7)
230
27.2
G
H.W.S
19.2
4400
230
H
Welder
40
FCL
40
16/Ø
8/Ø

## Slide 49
L

## Slide 50
L

## Slide 51
L

## Slide 52
L
L + P
330
70
23100
A/C
330
30
9900
33000
S
√3 x VL
= 33000
√3 x 400
= 47.7A per phase

## Slide 53
L
L + P
300
50
15000
A/C
300
25
7500
22500
S
√3 x VL
= 22500
√3 x 400
= 32.5A per phase

## Slide 54: END OF LESSON