## Slide 1
SECTION 6
CABLE SELECTION BASED ON
CURRENT CARRYING CAPACITY

## Slide 2
CABLE SELECTION BASED ON CURRENT CARRYING CAPACITY
L
Learning objectives:
Learners should be able to meet the following learning objectives:
Describe installation conditions for a range of wiring systems and applications.
Identify external influences that require the use of a de-rating factor.
Describe the AS/NZS 3000 requirements for coordination of cables and protection devices.
Use AS/NZS 3008.1.1 to select conductor size based on the maximum current requirement for a given installation condition including any applicable de-rating factors.

## Slide 3
L
Unenclosed in Air
Enclosed
Buried Direct in ground
Underground wiring Enclosures

## Slide 4
L
Therefor a cable installed in a domestic ceiling, wall or under a floor would need to be considered as “partially surrounded” or “fully surrounded” even if no insulation exists yet.
So for this situation you would need to use table 3(2)

## Slide 5
L

## Slide 6
L

## Slide 7
L
AS/NZS 3008.1.1

## Slide 8
L

## Slide 9
L
0.5D
0.5D

## Slide 10
L
0.3D
0.3D

## Slide 11
L
22
INSERT MISSING NUMBER IN AS3008 Table 3(2)

## Slide 12
L

## Slide 13
L

## Slide 14
L
Circuit Breaker
40oC
25oC
0.5m
1.2oC.m/W
Single circuit configuration
Less than 15% total harmonic distortion
(as per table 2)

## Slide 15
L

## Slide 16
L
No 3.5.2.2(a)
1 metre 3.5.2.2(b)(i)

## Slide 17
L
No 3.5.2.2(a)
1 metre 3.5.2.2(b)(i)
6 x D
Figure 1
2 x D
Figure 1

## Slide 18
L
(selecting IZ – the process)

## Slide 19
L

## Slide 20
L
Tables 4 – 21 used to for cable selection
Tables 22 – 26 used to determine de-rating values when cables are grouped
Tables 27 – 29 used to determine de-rating values when cables are in other situations.

## Slide 21
L
Table 3 is designed to be used as an index. It will direct you to the appropriate cable selection table
These tables are often referred to as “Look up” Tables

## Slide 22
L

## Slide 23
L

## Slide 24
L

## Slide 25
L

## Slide 26
L

## Slide 27
L

## Slide 28
L

## Slide 29
L
AS/NZS 3000

## Slide 30
L
AS/NZS 3008.1.1

## Slide 31
L
75oC
75oC
90oC
100oC

## Slide 32
L

## Slide 33
L

## Slide 34
L

## Slide 35
L

## Slide 36
L

## Slide 37
L

## Slide 38
L
The CCC of the associated active or total current to be carried
Not less than the CCC of the largest associated active conductor

## Slide 39
L
Not less than the CCC of the largest associated active conductor
Not less than the maximum out of balance current plus the harmonic current
Fluorescent lights, computers, Soft starters, VSDs

## Slide 40
L

## Slide 41
L

## Slide 42
L
2.5mm2
2.5mm2
1.0mm2

## Slide 43
L
4mm2
6mm2
25mm2
16mm2
95mm2
50mm2

## Slide 44
L

## Slide 45
L
Table 8.1 in AS/NZS3000 can be used as a guide to help you select an appropriate protection device rating (IN)

## Slide 46
L
200A

## Slide 47
L
AS/NZS 3008

## Slide 48
L
AS/NZS 3008

## Slide 49
L
200A
T3(1) Item 13
T13 C5

## Slide 50
L
AS/NZS 3008

## Slide 51
L
200A
T3(1) Item 13
T13 C5
95mm2 (213A)
25mm2

## Slide 52
L
172A
200A
213A
Y
N/A
N
25mm2

## Slide 53
L
T3(1) Item 8
T8 C8
50mm2 (176A)
160A
16mm2

## Slide 54
L
16mm2
135A
160A
176A
Y
N/A
N

## Slide 55
L
Factors below 1 – when applied, cables will have a lower CCC than that indicated in the current carrying capacity tables
Factors equal to 1 – when applied, cables will have the same CCC as indicated in the current carrying capacity tables
Factors above 1 – when applied, cables will have a higher CCC than that indicated in the current carrying capacity tables

## Slide 56
L
Tables 22 to 26
Tables 27(1) & 27(2)
Tables 28(1) & 28(2)
Table 29
Table 2
See grouping of cables
Tables 3(1) to 3(4)
Allowed for in tables 4 to 15

## Slide 57
L

## Slide 58
L

## Slide 59
L

## Slide 60
L
Table 2 and tables 22 to 29
0.72
27(1)
Column 10

## Slide 61
L
0.99
28(2)
Column 3
0.95
29
Column 4
0.78
24
Column 8
0.86
2
Column 2
0.89
27(2)
Column 7

## Slide 62
L

## Slide 63
L

## Slide 64
L
100 ≤ 100 ≤ 139x0.72
Yes
IZ = IN = 100 = 139A
D.R 0.72

## Slide 65
L
180 ≤ 200 ≤ 223x0.9
Yes
IZ = IN = 200 = 223A
D.R 0.9

## Slide 66
L
T3(4) Item 2
0.88
T7, column 24
160A
T28 (2)

## Slide 67
L
25mm2
155A
160A
217 x 0.88 = 190A
Y
95mm2 (217A)
IZ = 160 =
0.88
155 ≤ 160 ≤ 190
182A
N

## Slide 68
L
T3(1) Item 5
0.91
T7, column 5
100A
T27 (1)

## Slide 69
L
10mm2
85A
100A
127 x 0.91 = 115A
Y
35mm2 (127A)
IZ = 100 =
0.91
85 ≤ 100 ≤ 115
110A
N

## Slide 70
L
T3(1) Item 10
T14 C4
68A
0.88
T24 C6
= 68 x 0.88 x 0.9
= 53.85A
50A

## Slide 71
L
= 68 x 0.88 x 0.9
= 53.85A
50A
N/A (up to 50A)
50A
53A
Y
50 ≤ 50 ≤ 53

## Slide 72
L
T3(2) Item 1
T4 C15
32A
0.65
T22 C7
32 x 0.65 = 20.8A
20A

## Slide 73
L
32 x 0.65 = 20.8A
20A
N/A (up to 20A)
20A
20.8A
Y
20 ≤ 20 ≤ 20.8

## Slide 74
L
T3(3) Item 2
T8 C23
277A
0.88
T25(1) C5
277 x 0.88 = 243A
200A

## Slide 75
L
277 x 0.88 = 243A
200A
N/A (up to 200A)
200A
243A
Y
200 ≤ 200 ≤ 243

## Slide 76
L
T3(4) Item 1
T4 C24
89A
0.83
T26(2) C2
63A
89 x 0.83 = 73A

## Slide 77
L
63A
89 x 0.83 = 73A
N/A (up to 63A)
63A
73A
Y
63 ≤ 63 ≤ 73

## Slide 78
L
Once set, the adjusted value becomes the fixed value of nominal current (IN)

## Slide 79
L

## Slide 80
L
T3(1) Item 5
T8 C5
349A
T23 C7
0.95
349 x 0.95 = 331A

## Slide 81
L
349 x 0.95 = 331A
331/400 x 100 = 0.828
400A
Use 0.8
N/A (up to 320A)
400 x 0.8 = 320A
331A
Y
320 ≤ 320 ≤ 331

## Slide 82
L

## Slide 83
L

## Slide 84
L
4mm2

## Slide 85
L
2 x the single cable listed value
de-rating for group of 2
de-rating HRC fuse
Final CCC value

## Slide 86
L
AS/NZS 3008

## Slide 87
L
T3(4) Item 2
T8 C24
326A
0.95
26(2) C4
163 x 2 =
326 x 0.95 = 309A

## Slide 88
L
326 x 0.95 = 309A
309/400 x 100 = 0.774
50 + 50 = 100
0.63
N/A (up to 252A)
400 x 0.63 = 252A
309A
Y
Next up = 120mm2
35mm2
400A
252 ≤ 252 ≤ 309

## Slide 89: END OF LESSON

## Slide 90
L
T3(1) Item 10
T13 C2
54A

## Slide 91
L

## Slide 92
L

## Slide 93
L
T3(1) Item 10
T13 C2
54A
0.82
T24 C7
= 54 x 0.82
= 44.28A
40A

## Slide 94
L
= 54 x 0.82
= 44.28A
40A
N/A (up to 40A)
40A
44A
Y
40 ≤ 40 ≤ 44